## Slide 1: One-Line Diagrams
FLEXLAB Validation Experiment

## Slide 2: Calibration Experiments
One-Line | Keynotes

## Slide 3: Calibration Experiments One-Line
AC Load Center
Plenum / Unconditioned Area
(4) Circulation Fans
(6) 550W AC/DC Computer Power Supply
Seasonic FOCUS PX-550
Within Walls
Conditioned Zone
5
15’
15’
25’
2
2
3
15’
1
7
21
3
20’
19
3
3
3
(6) Programmable DC Load Bank
BK Precision 8500B
Misc. Load
4
3, 15
5
4

## Slide 4: Calibration Experiments Keynotes
Boxed numbers indicate FLEXLAB load center circuit numbering
#12 AWG permanent building infrastructure wiring (not considered in models); typ.
#12 AWG temporary extension cords / power strips; lengths as marked
Power cords integral to AC-powered loads not shown or modeled independently
Miscellaneous plug loads; typ. of (2) circuits

## Slide 5: AC Experiment
One-Line | Keynotes | BEEAM Model

## Slide 6: AC Experiment One-Line
AC Load Center
Plenum / Unconditioned Area
(4) Circulation Fans
(6) 550W AC/DC Computer Power Supply
Seasonic FOCUS PX-550
Within Walls
Conditioned Zone
5
15’
15’
25’
2
2
3
15’
1
7
21
3
20’
19
3
3
3
(6) Programmable DC Load Bank
BK Precision 8500B
Misc. Load
4
3, 15
5
4
9
12
22
23
24
28
17
?
(6) 2’ x 4’ AC LED Troffer
GO-LED-24-46-35-UNV
(2) Circulation Fans
(6) Integrated LED Driver
GO-LED-24-46-35-UNV
6
4

## Slide 7: AC Experiment Keynotes
Boxed numbers indicate FLEXLAB load center circuit numbering
#12 AWG permanent building infrastructure wiring (not considered in models); typ.
#12 AWG temporary extension cords / power strips; lengths as marked
Power cords integral to AC-powered loads not shown or modeled independently
Miscellaneous plug loads; typ. of (2) circuits
AC LED drivers connect to building infrastructure via 10’ length #12 AWG cables (included in model)

## Slide 8: AC Experiment Components Modeled in BEEAM
AC Load Center
Plenum / Unconditioned Area
(6) 550W AC/DC Computer Power Supply
Seasonic FOCUS PX-550
Within Walls
Conditioned Zone
15’
15’
25’
(6) Programmable DC Load Bank
BK Precision 8500B
(6) 2’ x 4’ AC LED Troffer
GO-LED-24-46-35-UNV
(6) Integrated LED Driver
GO-LED-24-46-35-UNV
10’ (typ.)

## Slide 9: DC Experiment
One-Line | Keynotes | BEEAM Model

## Slide 10: DC Experiment One-Line
AC Load Center
Plenum / Unconditioned Area
(4) Circulation Fans
Within Walls
Conditioned Zone
2
2
15’
1
3
20’
19
3
(6) Programmable DC Load Bank
BK Precision 8500B
Misc. Load
4
3, 15
5
17
?
(6) 2’ x 4’ DC LED Troffer
LAMAR N-R1L-448FA-40K90-1
24
(2) Circulation Fans
Central AC/DC Converter / Power Hub
Nextek PHD Blade S12
7
8
6
4

## Slide 11: DC Experiment Keynotes
Boxed numbers indicate FLEXLAB load center circuit numbering
#12 AWG permanent building infrastructure wiring (not considered in models); typ.
#12 AWG temporary extension cords / power strips; lengths as marked
Power cords integral to AC-powered loads not shown or modeled independently
Miscellaneous plug loads; typ. of (2) circuits
(2) DC LED troffers per power hub channel
DC LED troffers connect to power hub via 25’ length #12 AWG cables, run below the drop ceiling and cascaded as shown
DC load banks connect to power hub via 25’ length #12 AWG cables

## Slide 12: DC Experiment Components Modeled in BEEAM
AC Load Center
Plenum / Unconditioned Area
Within Walls
Conditioned Zone
(6) Programmable DC Load Bank
BK Precision 8500B
(6) 2’ x 4’ DC LED Troffer
LAMAR N-R1L-448FA-40K90-1
Central AC/DC Converter / Power Hub
Nextek PHD Blade S12